ASSE 6010 Medical Gas Systems Installer - Brazer Training Course Checklist

The Attendees of the ASSE 6010 Medical Gas Installers – Brazers Training Course must provide the following:

- Photo Identification

- Ink Pens, Pencils and Highlighters

- Notebook paper for taking notes

- 15’ of 1-1/2” ASTM B819 Hard Drawn Seamless Copper Tubing Type “L”

- 15 each 1-1/2” Copper Couplings w/stops

- 1lb of BcuP Series Brazing Filler Metal 5%-15%

- Clean Sharp Deburring Tool

- Clean Sharp Tubing Cutter (Capable of cutting 1-1/2” Copper)

- Clean Stainless Steel Wire Brush (1-1/2”) for Cleaning Fittings

- Clean Non-Shedding Abrasive Pads (Scotch Brite)

- Clean Lint Free White Cloth/Rags

- Nitrogen Regulator w/Flow Meter

- 15’ Hose Assembly (for Nitrogen Purging)

- Acetylene (enough for 4 hrs/brazer with #32 Turbo Torch Tip)

- Acetylene Regulator w/Hose Assembly (Turbo Torch Kit)

- Long Sleeve Shirt, Long Pants, Safety Glasses, Work Gloves (Capable of protecting Hands During Brazing Procedures), and Work Boots for the Brazing Training/Testing